MRI and Imaging Safety and Standards

Background and Summary of August 27, 2008 Meeting

The American Association of Neurological Surgeons, Congress of Neurological Surgeons Resolution 539 A-06, Development of Standards for MRI Equipment and Interpretation to Improve Patient Safety, directed that the AMA to convene a meeting(s) with representatives from MRI manufacturers, radiology and other interested medical specialties, and imaging facilities, with the goals of: (1) agreeing to standards in electronic imaging formats (e.g., left to right, axial, coronal, sagittal); (2) developing standards of data manipulation and localization consistent throughout all units for best interpretation of the data; and (3) ensuring that each electronic format is equipped with the capability of loading and launching its contained images on the physician’s computer.

In accordance with that resolution, the AMA convened a panel of expert physicians representing medical specialties.  The panel met with imaging industry and standards representatives in April 2007; reported back to the House of Delegates in A-07 on the scope of the safety, quality, and accountability issues identified by the panel; met in December 2007 (absent industry) to develop recommendations for imaging improvement, which were subsequently approved by the AMA and the medical specialty societies represented on the panel; and presented the recommendations to industry and imaging standards representatives in January 2008.

Although imaging standards (NEMA/MITA) responded favorably to the “AMA recommendations,” industry was slow to respond.  Industry response compelled the panel to draft Resolution 523 A-08, Imaging Safety and Standardization; the HOD approval of the resolution directed the panel to continue its work.  On August 27, 2008, the panel and stakeholders met; this meeting was preconditioned by the understanding that industry and standards would send representatives with decisional authority; identify solutions; and develop a proposal for action.  All three objectives were met and, additionally, the industry and standards representatives agreed to develop a product that incorporates the panel’s recommendations and needs.  This is possible at this time because of industry’s 2009 development cycle and NEMA, MITA, and IHE are pushing industry to respond to the AMA recommendations.

The Product: The IHE Portable Data Imaging (PDI) Integration Profile (Components include an optional viewer)

Manufacturers say PDI could meet the AMA recommendation; additionally, PDI could meet the standard of care desired by the Panel, which is the standard that should be met.  Presently, PDI does not meet the Panel’s standard, but is the current standard of care.

The IHE PDI Integration Profile enables the reliable interchange of patient records on CD including:

- Images

- Evidence objects

- Diagnostic reports

For:

- Import

- Storage

- Display

- Printing

Slides presented at the meeting explaining PDI

The Panel and stakeholders have agreed to the following timeline:

- Immediately: Panel chair, Charles Rosen, MD, PhD, AANS, FACS, and staff draft operability recommendation principles that will go into the proposal

- September 5: AMA Panel will review and edit operability recommendation principles

- September 19: AMA Panel presents draft only to participants in August 27 meeting, i.e., NEMA/ MITA, IHE, and industry representatives

- September 15: Feedback expected from NEMA/ MITA, IHE, and industry representatives

- Draft goes to AMA TF on Quality, Safety, EHR  before I-08

- October 2008: IHE delivers proposal to industry

- January 2009: Industry incorporates proposal

- January –February2009: Specifications development and discussion on specifications with AMA Panel

- March 2009: Proposal goes out for 10 day public comment period

- April 2009:  Final specifications and mock-up of viewer developed; Panel participates in mock-up and product demonstration

- June 2009: Launch prototype / mock-up of viewer in June at AANS and AMA (Propose to BOT that AMA hosts prototype demonstration at 2009 annual meeting

Other logistical issues:

- NEMA will recruit IT/ engineering expertise and manage specification process

- NEMA/ MITA will engage smaller vendors

- AMA Panel will identify what is needed at the point of care, eg, localizer line; concurrent multiple sequencing; distinguish axial imaging; motion / cardio requirements; echo/ see pictures and multiple images

- Throughout process, AMA Panel will provide expertise to and oversight of baseline hardware requirements identified by users at the point of care

Panel Declaration by American Medical Association Expert Panel on Medical Imaging

The American Medical Association Expert Panel on Medical Imaging (Panel) is concerned whether medical imaging data recorded on CD’s/DVD’s is meeting standards of practice relevant to patient care.

The Panel puts forward the following statement, which embodies the standard the medical imaging community must achieve.

All medical imaging data distributed should be a complete set of images of diagnostic quality in compliance with IHE-PDI.

This standard will engender safe, timely, appropriate, effective, and efficient care; mitigate delayed care and confusion; enhance care coordination and communication across settings of care; decrease waste and costs; and, importantly, improve patient and physician satisfaction with the medical imaging process.

Signed by:

American Medical Association

American Association of Neurological Surgeons

Congress of Neurological Surgeons

American Academy of Neurology

American College of Radiology

American Academy of Orthopaedic Surgeons

American College of Cardiology

American Association of Neurological Surgeons; Congress of Neurological Surgeons; American Academy of Neurology; American College of Radiology; American Academy of Orthopaedic Surgeons; American College of Cardiology; American Academy of Otolaryngology-Head and Neck Surgery

Cerner; Toshiba; Philips; General Electric; Accuray; National Electrical Manufacturers Association; Medical Imaging Technology Association;  Integrating Healthcare Enterprise