ISO/IEC JTC 1/SC 29/WG 1 N1241

Date:  17 March, 1999

ISO/IEC JTC 1/SC 29/WG 1 (ITU-T SG8) Coding of Still Pictures JBIG JPEG Joint Bi-level Image Joint Photographic Experts Group Experts Group

TITLE:           			JPEG2000 Medical Test Images

SOURCE:			DICOM WG 4 (Compression)

PROJECT:			JPEG2000

STATUS:			Final

REQUESTED

ACTION:			Support for Core Experiments

DISTRIBUTION:	WG1 Seoul Meeting, WG1 Web pages.

Contact:

ISO/IEC JTC 1/SC 29/WG 1 Convener - Dr. Daniel T. Lee

Hewlett-Packard Company,  11000 Wolfe Road, MS42U0, Cupertino, California 95014, USA

Tel:  +1 408 447 4160,   Fax:  +1 408 447 2842,   E-mail: Daniel_Lee@hp.com

The DICOM Compression Working Group (WG 4) has selected a set of medical images to assist the JPEG 2000 project in evaluating proposed compression schemes. These were submitted on CD-R to WG 1 in March 1998 and have since then been avalable by anonymous ftp from:

ftp://ftp.med.ge.com/pub/DICOM/transfer/jpeg2000/

This set consists of a collection of medical images for the purpose of informally evaluating the effect of proposed JPEG 2000 schemes on image quality.

They contain no patient identifying information.

They have been obtained from various publically available collections of images, including NEMA DICOM demonstrations and public web servers. However, copyright is retained by the owners of the original images and hence they should not be distributed beyond the intended purpose of the JPEG evaluation.

They are intended to be a representative set of the broad range of different types of medical images. They may not necessarily particularly challenging or unusual and may not contain any particularly subtle abnormalities, so should not be assumed to be critical tests of a compression scheme nor imply any likely usefulness from a diagnostic point of view. The decision to use a lossy compression scheme for medical applications may require a more rigorous observer-performance study of a carefully selected set to test a particular diagnostic task.

The images are "dual-personality" in the sense that they are both DICOM and TIFF images. The collection includes a dicom directory and is written with software conforming to the General Purpose CD-R Media Application Profile. Images are all encoded as current standard DICOM Image Storage SOP Classes - the Visible Light images are stored as Secondary capture, not the proposed VL Image Storage SOP Class, which may not yet be supported on the review workstations used for the evaluation.

Non-medical users may find it more convenient to extract the pixel data from the images using a conventional TIFF reader, rather than a DICOM reader. Be aware that some of the images, including the CT and some of the MR images, contained signed data, and hence will "look strange". It is expected that the results of the compress/decompress cycle will result in data of the same form as the original and will be evaluated visually using medical software that "knows" about signed data, ie. don't try to fix what these "look like" before compressing them !

The available images are described in the accompanying table.

Note that in the table, “Bits” is the official number of bits used as stated by the source of the images ... the dynamic range of the actual image may not use this much.

Also, the images are stored as 8 or 16 bit words (little endian), eg. a 12 bit pixel actually occupies 16 bits (in the least significant bits). This is all described in the DICOM header, but the TIFF header doesn't preserve this distinction.

All images are single frame. The color image(s) are all color-by pixel (ie. RGBRGB...) not color-by-plane.

David Clunie (dclunie@idt.net)

19998/03/09 (revised 1999/03/17)

| Image | File | Pixel Data Bytes | Pixel Data Offset | Rows | Cols | Bits | Samples | Zero Order Entropy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CT Lung Contrast | CT1 | 524288 | 6176 | 512 | 512 | 16 | 1 | 8.20914 |
| CT Brain Contrast | CT2 | 524288 | 1426 | 512 | 512 | 16 | 1 | 6.8012 |
| Mammogram | MG1 | 28580992 | 1186 | 4664 | 3064 | 12 | 1 | 10.561 |
| MR Posterior Fossa | MR1 | 524288 | 1430 | 512 | 512 | 16 | 1 | 10.083 |
| MR Shoulder | MR2 | 2097152 | 1728 | 1024 | 1024 | 12 | 1 | 6.89806 |
| MR Knee | MR3 | 524288 | 9272 | 512 | 512 | 16 | 1 | 6.30807 |
| MR Brain | MR4 | 524288 | 1748 | 512 | 512 | 12 | 1 | 6.03216 |
| NM Bonescan | NM1 | 524288 | 2632 | 1024 | 256 | 16 | 1 | 3.99372 |
| Chest X-Ray | RG1 | 7198310 | 1570 | 1955 | 1841 | 15 | 1 | 13.7073 |
| Hip Joint | RG2 | 7532800 | 1134 | 2140 | 1760 | 10 | 1 | 7.20069 |
| Bone Lesion Leg | RG3 | 6195200 | 1202 | 1760 | 1760 | 10 | 1 | 6.62469 |
| US Color Tissue Doppler | US1 | 921600 | 1044 | 480 | 640 | 8 | 3 | 3.11635 |
| XA Neuroangiogram | XA1 | 2097152 | 936 | 1024 | 1024 | 10 | 1 | 6.53488 |
| Scanned Film CT Brain | SC1 | 10186752 | 880 | 2487 | 2048 | 12 | 1 | 5.75373 |
| GI Endoscopy Esophagus | VL1 | 1102248 | 894 | 486 | 756 | 8 | 3 | 2.66609 |
| GI Endoscopy Stomach | VL2 | 1102248 | 890 | 486 | 756 | 8 | 3 | 2.99886 |
| GI Endoscopy Colon | VL3 | 1102248 | 900 | 486 | 756 | 8 | 3 | 2.55583 |
| Retinal Fundoscopy | VL4 | 12474504 | 870 | 1868 | 2226 | 8 | 3 | 4.32233 |
| Pathology Whole Prostate | VL5 | 26753400 | 886 | 3340 | 2670 | 8 | 3 | 6.16013 |
| Pathology Stomach Biopsy | VL6 | 1102248 | 902 | 486 | 756 | 8 | 3 | 4.53285 |